## sheet1
itemcode | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
030401001 | [['油浸电力变压器安装', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['变压器油过滤'], [], []] | [['电力变压器干燥', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []] | [['网门', '保护网制作', '安装'], [], []] | [[], [], []]
030401002 | [['干式变压器安装', '容量'], [], ['following words, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['控制台', '控制箱安装', '同期小屏控制箱'], [], []] | [[], [], []] | [['网门', '保护网制作', '安装'], [], []] | [[], [], []]
030401003 | [['油浸电力变压器安装', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['变压器油过滤'], [], []] | [['电力变压器干燥', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [['网门', '保护网制作', '安装'], [], []] | [[], [], []]
030401004 | [['油浸电力变压器安装', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['变压器油过滤'], [], []] | [['电力变压器干燥', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [['网门', '保护网制作', '安装'], [], []] | [[], [], []]
030401005 | [['油浸电力变压器安装', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['变压器油过滤'], [], []] | [['电力变压器干燥', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [['网门', '保护网制作', '安装'], [], []] | [[], [], []]
030401006 | [['油浸电力变压器安装', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['网门', '保护网制作', '安装'], [], []] | [[], [], []]
030401007 | [['消弧线圈安装', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['变压器油过滤'], [], []] | [['电力变压器干燥', '10kV/容量'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []]
030402001 | [['油断路器安装', '油断路器'], [], ['following words, in parentheses, at end of line']] | [[], ['一般铁构件', '制作', '基础槽钢', '角钢安装', '槽钢', '角钢'], []] | [['变压器油过滤'], [], []] | [[], [], []] | [[], [], []]
030402002 | [['真空断路器', 'SF6断路器安装'], [], ['following words, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [[], [], []] | [[], [], []]
030402003 | [['真空断路器', 'SF6断路器安装', 'SF6断路器'], [], ['following words, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [[], [], []] | [[], [], []]
030402004 | [['空气断路器'], [], ['following words, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [[], [], []] | [[], [], []]
030402005 | [['真空接触器'], [], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], [], []]
030402006 | [[], ['户内隔离开关', '负荷开关', '电流A以下', '二段传动另加', '带一接地开关另加', '户外隔离开关'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []]
030402007 | [['户内隔离开关', '负荷开关'], ['电流A以下', '二段传动另加', '带一接地开关另加'], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], [], []]
030402008 | [[], ['电压互感器', '电流互感器', '户内式', '户外式'], ['电流互感器']] | [[], [], []] | [['变压器油过滤'], [], []] | [[], [], []]
030402009 | [['熔断器'], [], []] | [[], [], []]
030402010 | [['避雷器'], [], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
030402011 | [['电抗器安装', '干式电抗器'], [], ['following words, in parentheses, at end of line']] | [['电抗器干燥', '干式电抗器'], [], ['following words, in parentheses, at end of line']]
030402012 | [['电抗器安装', '油浸电抗器'], [], ['following words, in parentheses, at end of line']] | [['变压器油过滤'], [], []] | [['电抗器干燥', '油浸电抗器'], [], ['following words, in parentheses, at end of line']]
030402013 | [['电力电容器安装', '移相及串联电容器', '重量'], [], ['following words, in parentheses, at end of line']] | [[], [], []]
030402014 | [['电力电容器安装', '集合式并联电容器', '重量'], [], ['following words, in parentheses, at end of line']] | [[], [], []]
030402015 | [['并联补偿电容器组架', 'TBB系列'], ['单列', '两层', '三层', '双列', '小型组合'], []] | [[], [], []]
030402016 | [['交流滤波装置组架', 'TJL系列'], ['电抗组架', '放电组架', '连线组架'], []] | [[], [], []]
030402017 | [['高压成套配电柜安装'], ['单母线柜', '断路器柜', '互感器柜', '电容器柜', '其他柜', '母线桥', '双母线柜'], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [[], [], []] | [[], [], []]
030402018 | [['组合型成套箱式变电站安装', '带高压开关柜'], ['不带高压开关柜'], ['following words, in parentheses, at end of line']] | [['10kV以下架空配电线路基础工程'], ['现浇混凝土基础', '每基混凝土量', '机械钻孔', '砂土', '亚粘土', '孔深', '孔径', '粘土', '砂砾石', '灌注桩混凝土', '10kV以下架空配电线路基础工程基础保护帽浇制', '基础保护帽浇制', '10kV以下架空配电线路基础工程基础防腐', '金属基础', '混凝土基础'], ['following words, in parentheses, at end of line', 'm3', '孔深 not at end of line', 'not following anything, in parentheses, at end of line']] | [[], ['带形铜母线安装', '每相一片截面', '每相二片截面', '每相三片截面', '每相四片截面', '带形铝母线安装', '带形铜母线引下线', '带形铝母线引下线', '带形铜母线伸缩节头及铜过渡板', '伸缩接头每相', '铜', '铝', '过渡板', '带形铝母线伸缩节头', '每相'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []]
030403001 | [['软母线安装', '导线截面'], [], ['following words, in parentheses, at end of line', 'mm']] | [['绝缘子', '套管', '绝缘油', '电缆试验'], ['悬式绝缘子', '支持绝缘子'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['软母线引下线', '跳线及设备连线', '导线截面'], [], ['following words, in parentheses, at end of line', 'mm']] | [['10kV以下绝缘子安装'], ['悬式绝缘子串', '户内式支持绝缘子', '户外式支持绝缘子'], ['with # in front, not in parentheses, at the end of line']]
030403002 | [['组合软母线安装', '母线'], [], ['following words, in parentheses, at end of line']] | [['绝缘子', '套管', '绝缘油', '电缆试验'], ['悬式绝缘子', '支持绝缘子'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['软母线引下线', '跳线及设备连线', '导线截面'], [], ['following words, in parentheses, at end of line', 'mm']] | [['10kV以下绝缘子安装'], ['悬式绝缘子串', '户内式支持绝缘子', '户外式支持绝缘子'], ['with # in front, not in parentheses, at the end of line']]
030403003 | [[], ['带形铜母线安装', '每相一片截面', '每相二片截面', '每相三片截面', '每相四片截面', '带形铝母线安装'], ['following words, in parentheses, at end of line', 'mm']] | [['穿通板制作', '安装'], ['石棉水泥板', '聚氯乙烯板', '电木板或环氧树脂板', '钢板'], []] | [[], ['10kV以下绝缘子安装', '户内式支持绝缘子', '户外式支持绝缘子', '穿墙套管安装', '绝缘子', '套管', '绝缘油', '电缆试验', '支持绝缘子', '绝缘套管'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [[], ['带形铜母线引下线', '每相一片截面', '每相二片截面', '每相三片截面', '每相四片截面', '带形铝母线引下线'], ['following words, in parentheses, at end of line', 'mm']] | [['每相'], ['带形铜母线伸缩节头及铜过渡板', '伸缩接头每相', '带形铝母线伸缩节头'], ['following words, in parentheses, at end of line']] | [['带形铜母线伸缩节头及铜过渡板', '铜', '铝', '过渡板'], [], []] | [[], [], []]
030403004 | [['槽型母线安装'], [], ['with # in front, not in parentheses, at the end of line']] | [[], ['槽型母线与发电机连接', '槽型母线与变压器连接'], ['with # in front, not in parentheses, at the end of line', '连接 not at the end of line']] | [['槽型母线与断路器连接'], [], ['with # in front, not in parentheses, at the end of line', '连接 not at the end of line']] | [[], [], []]
030403005 | [['箱体/导体'], ['共箱母线安装', '6～10kV铜母线', '6～10kV铝母线', '共箱母线共装'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
030403006 | [['低压封闭式插接母线槽', '每相电流'], [], ['following words, in parentheses, at end of line']] | [[], [], []]
030403007 | [[], ['低压封闭式插接母线槽进出分线箱', '分线箱电流', '低压封闭式插接母线槽始端箱', '每相电流', '组合软母线安装', '母线', '插接式空气开关箱安装'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []]
030403008 | [[], ['重型铜母线安装', '重型铝母线安装', '不分规格', '铝电解', '镁电解', '石墨化电解', '重型铝母线接触面加工'], ['with # in front, not in parentheses, at the end of line', 'mm', 'following words, in parentheses, at end of line']] | [['安装'], ['重型母线伸缩器制作', '铜母线伸缩器', '铝母线伸缩器', '重型母线导板制作', '铜导板', '阳极', '阴极', '铝导板'], ['following words, in parentheses, at end of line', 'mm']] | [['10kV以下绝缘子安装'], ['户内式支持绝缘子', '户外式支持绝缘子'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
030404001 | [[], ['控制屏', '艺术喷泉电气设备安装', '程序控制柜'], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '焊铜接线端子', '压铜接线端子', '压铝接线端子', '自动调节励磁屏', '励磁灭磁屏', '蓄电池屏'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404002 | [['继电', '信号屏'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404003 | [['模拟屏'], [], ['following words, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404004 | [['配电', '电源', '屏低压开关柜'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404005 | [['弱电控制返回屏'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404006 | [['集装箱式配电室'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['10kV以下架空配电线路基础工程'], ['现浇混凝土基础', '每基混凝土量', '机械钻孔', '砂土', '亚粘土', '孔深', '孔径', '粘土', '砂砾石', '灌注桩混凝土', '10kV以下架空配电线路基础工程基础保护帽浇制', '基础保护帽浇制', '10kV以下架空配电线路基础工程基础防腐', '金属基础', '混凝土基础'], ['following words, in parentheses, at end of line', 'm3', '孔深 not at end of line', 'not following anything, in parentheses, at end of line']] | [[], [], []] | [[], [], []]
030404007 | [['硅整流柜'], [], ['with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [[], [], []] | [[], [], []]
030404008 | [['可控硅柜'], [], ['with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [[], [], []] | [[], [], []]
030404009 | [['低压电容器柜'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404010 | [['自动调节励磁屏'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404011 | [['励磁灭磁屏'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404012 | [['蓄电池屏'], [], ['following words, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404013 | [['直流馈电屏'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404014 | [['事故照明切换屏'], [], []] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [['屏边'], [], []] | [[], [], []] | [[], [], []]
030404015 | [['控制台', '控制箱安装'], ['集中控制台'], ['with # in front, not in parentheses, at the end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['端子板安装'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['盘柜配线', '导线截面', '无端子外部接线', '有端子外部接线'], ['following words, in parentheses, at end of line', 'mm']] | [['仪表', '电器', '小母线安装', '小母线'], [], []] | [[], [], []] | [[], [], []]
030404016 | [[], ['控制台', '控制箱安装', '同期小屏控制箱', '艺术喷泉电气设备安装', '程序控制箱', '落地式', '程序控制箱悬挂嵌入式'], ['半周长 not in parentheses']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []]
030404017 | [[], ['成套配电箱安装', '落地式', '悬挂嵌入式', '箱盒制作', '木配电箱制作', '木板配电箱', '墙洞配电箱', '配电板制作', '木板', '塑料板', '胶木板', '木板包薄钢板', '配电板安装', '节能开关箱安装'], ['following words, in parentheses, at end of line', 'not following anything, in parentheses, at end of line']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []]
030404018 | [['接线箱半周长'], ['接线箱明装', '接线箱暗装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404019 | [[], ['控制开关安装', '自动空气开关', 'DZ装置式', 'DW万能式', '电动', '手动', '刀型开关', '手柄式', '操作机构式', '带熔断器式', '铁壳开关', '胶盖闸刀开关', '单相', '三相', '组合控制开关', '普通型', '防爆型', '万能转换开关', '漏电保护开关', '单式', '单极', '三极', '四极', '组合式', 'DZ自动空气断路器安装', '额定电流', '盘管风机三速开关'], ['not following anything, in parentheses, at end of line', 'following words, in parentheses, at end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404020 | [['熔断器'], ['瓷插螺旋式', '管式', '防爆式'], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404021 | [['限位开关'], ['普通式', '防爆式'], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404022 | [['控制器'], ['主令', '鼓型', '凸轮'], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404023 | [['接触器', '磁力起动器'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404024 | [['接触器', '磁力起动器'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404025 | [['Ｙ-△自耦减压起动器'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404026 | [['电磁铁'], [], ['following words, in parentheses, at end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404027 | [['快速自动开关'], [], ['with # in front, not in parentheses, at the end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404028 | [['电阻器', '一箱'], ['每加一箱'], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404029 | [['油浸频敏变阻器'], [], []] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404030 | [['分流器安装', '分流器'], [], ['following words, in parentheses, at end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404031 | [[], ['按钮', '普通型', '防爆型', '电笛', '水位电气信号装置安装', '机械式', '电子式', '液位式', '仪表', '电器', '小母线安装', '测量表计', '继电器', '电磁锁', '屏上辅助设备', '辅助电压互感器', '开关及按钮', '一般按钮', '明装', '暗装', '柜门触动开关', '安全变压器', '变压器容量', '电铃', '电铃号牌箱规格', '门铃'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030404032 | [['端子箱安装'], ['户外', '户内'], []] | [[], [], []]
030404033 | [[], ['吊风扇', '壁扇', '排气扇', '吊扇带灯'], []] | [['风扇调速开关'], [], []]
030404034 | [[], ['开关及按钮', '拉线开关', '扳把开关明装', '扳式暗开关', '单控', '单联', '双联', '三联', '四联', '五联', '六联', '双控', '密闭开关', '声控', '红外线感应', '延时开关', '带保险盒开关安装', '单线', '双线', '明装', '防水', '扳把开关'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
030404035 | [[], ['单相明插座', '单相', '单相带接地', '三相带接地明插座', '单相暗插座', '三相带接地暗插座', '防爆插座', '三相带接地', '带保险盒插座安装', '须刨插座', '床头柜多线插座连插头', '多联组合开关插座', '明装', '暗装', '多线插头连座'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []]
030404036 | [[], ['请勿打扰灯', '钥匙取电器', '红外线浴霸', '有载自动调压器', '自动干手装置', '明装', '床头柜集控板安装', '规格', '艺术喷泉电气设备安装', '音乐喷泉控制设备', '声画同步器', '编程音乐控制器', '电脑音乐控制器', '音乐控制器', '变频调速器', '喷泉特技效果控制设备', '摇摆传动器'], ['following words, in parentheses, at end of line', '#路', 'words#kW following 摇摆传动器']] | [[], [], []]
粤030404037 | [[], ['无端子外部接线', '有端子外部接线', '流水开关接线', '电磁开关接线', '节能开关箱安装', '自动冲洗感应器接线', '风机盘管接线', '风扇接线'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030405001 | [[], ['碱性蓄电池安装', '蓄电池容量', '固定密闭式铅酸蓄电池安装', '免维护铅酸蓄电池安装', '蓄电池电压／容量'], ['following words, in parentheses, at end of line']] | [['蓄电池防震支架安装'], ['单层支架', '单排', '双排', '双层支架'], []] | [['蓄电池充放电'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']]
030405002 | [['安装太阳能电池'], [], ['with # in front, not in parentheses, at the end of line']] | [['安装方阵铁架'], ['基础底座上安装', '铁塔上安装'], ['following words, in parentheses, at end of line']] | [['太阳能电池与控制屏联测'], [], ['following words, in parentheses, at end of line']]
030406001 | [['发电机及调相机检查接线', '空冷式发电机', '调相机容量'], [], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], [], []] | [['发电机', '调相机系统调试', '调相机'], [], ['following words, in parentheses, at end of line']]
030406002 | [['发电机及调相机检查接线', '空冷式发电机', '调相机容量'], [], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], [], []] | [['发电机', '调相机系统调试', '调相机'], [], ['following words, in parentheses, at end of line']]
030406003 | [[], ['小型直流电机检查接线', '直流电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线'], ['following words, in parentheses, at end of line']] | [[], [], []] | [['小型电机干燥'], [], ['with # in front, not in parentheses, at the end of line']] | [['普通小型直流电动机调试', '普通小型直流电动机'], [], ['following words, in parentheses, at end of line']]
030406004 | [[], ['小型直流电机检查接线', '直流电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线', '中型电机检查接线', '大型电机检查接线', '平均每吨'], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['可控硅调速直流电动机系统调试'], ['一般可控硅调速电机', '全数字式控制可控硅调速电机'], ['following words, in parentheses, at end of line']]
030406005 | [[], ['小型交流同步电机检查接线', '交流同步电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线', '中型电机检查接线', '大型电机检查接线', '平均每吨'], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['普通交流同步电动机调试'], ['10kV以下电机直接起动', '380V同步电动机', '直接起动', '降压起动'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']]
030406006 | [[], ['小型交流异步电机检查接线', '交流异步电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线', '中型电机检查接线', '大型电机检查接线', '平均每吨', '电磁调速电动机检查接线'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['低压交流异步电动机调试', '控制保护类型'], ['低压笼型电动机', '刀开关控制', '电磁控制', '非电量联锁', '带过流保护', '低压绕线型电动机', '速断', '过流保护', '反时限过流保护'], []]
030406007 | [[], ['小型交流异步电机检查接线', '交流异步电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线', '中型电机检查接线', '大型电机检查接线', '平均每吨', '电磁调速电动机检查接线'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['高压交流异步电动机调试'], ['10kV以下电动机一次设备调试', '电机二次设备及回路调试', '差动过流保护', '反时限过流保护', '速断过流常规保护'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']]
030406008 | [['微型电机', '变频机组检查接线', '变频机组'], [], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [[], ['交流同步电动机变频调速', '交流同步电动机', '交流异步电动机变频调速', '交流异步电动机', '特殊保护装置调试', '高频保护'], ['following words, in parentheses, at end of line']]
030406009 | [['微型电机', '变频机组检查接线'], [], []] | [[], [], []] | [['小型电机干燥'], [], ['with # in front, not in parentheses, at the end of line']] | [['微型电机', '电加热器调试', '电加热器'], [], ['following words, in parentheses, at end of line']]
030406010 | [[], ['小型直流电机检查接线', '直流电机检查接线', '小型交流异步电机检查接线', '交流异步电机检查接线', '小型交流同步电机检查接线', '交流同步电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线', '中型电机检查接线', '大型电机检查接线', '平均每吨'], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['电动机组及联锁装置调试'], ['电动机台数', '两台机组', '两台以上机组', '电动机联锁装置', '联锁台数'], ['#kW following 电动机台数', 'with # in front, not in parentheses, at the end of line']]
030406011 | [[], ['小型直流电机检查接线', '直流电机检查接线', '小型交流异步电机检查接线', '交流异步电机检查接线', '小型交流同步电机检查接线', '交流同步电机检查接线', '小型防爆式电机检查接线', '防爆式电机检查接线', '小型立式电机检查接线', '立式电机检查接线', '中型电机检查接线', '大型电机检查接线', '平均每吨'], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], ['小型电机干燥', '中型电机子燥', '大型电机干燥', '平均每吨'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['电动机组及联锁装置调试', '备用励磁机组'], [], []]
030406012 | [[], [], []]
030407001 | [[], ['轻型滑触线安装', '铜质I型', '角钢', '扁钢滑触线安装', '扁钢', '圆钢', '工字钢滑触线安装', '工字钢', '轻轨', '铜钢组合', '沟型', '安全节能型滑触线安装', '电流'], ['with # in front, not in parentheses, at the end of line', 'Φ#', 'following words, in parentheses, at end of line']] | [[], ['滑触线支架安装', '螺栓固定', '焊接固定', '指示灯', '工字钢', '轻轨支架', '一般铁构件', '制作', '轻型铁构件'], ['#横架式']] | [['滑触线拉紧装置及挂式支持器制作', '安装', '滑触线拉紧装置'], ['扁钢', '圆钢', '软滑线', '挂式滑触线支持器'], []] | [['移动软电缆安装'], ['沿钢索每根', '沿轨道'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030408001 | [['电缆'], ['铝芯电力电缆敷设', '铜芯电力电缆敷设', '矿物绝缘电力电缆'], ['following words, in parentheses, at end of line', 'mm', 'with # in front, not in parentheses, at the end of line']] | [['电缆沟铺砂', '盖砖及移动盖板', '揭'], [], ['following words, in parentheses, at end of line', 'mm']]
030408002 | [['电缆'], ['矿物绝缘控制电缆', '芯数', '控制电缆敷设'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [['电缆沟铺砂', '盖砖及移动盖板', '揭'], [], ['following words, in parentheses, at end of line', 'mm']]
030408003 | [[], ['电缆保护管有混凝土基础暗敷', '混凝土管', '石棉水泥管', '公称直径', '一根', '每增一根', '每增加一根', '铸铁管', '钢管', '塑料管', '电缆保护管无混凝土基础暗敷', '电缆保护管明敷', '镀锌电线管砖', '混凝土结构明配', '混凝土结构暗配', '镀锌电线管钢结构支架配管', '镀锌电线管钢索配管', '镀锌钢管砖', '钢管敷设砖', '镀锌钢管钢模板暗配', '镀锌钢管钢结构支架配管', '镀锌钢管钢索配管', '镀锌钢管埋地敷设', '刚性阻燃管砖', '刚性阻燃管埋地敷设', '半硬质塑料管砖', '半硬质塑料管钢模板暗配', '半硬质塑料管埋地敷设'], ['mm', '公称直径#mm following 管', 'following words, in parentheses, at end of line']]
030408004 | [['混凝土电缆槽'], [], ['following words, in parentheses, at end of line', 'mm', '宽\\+高']]
030408005 | [['电缆沟铺砂', '盖砖及移动盖板'], ['铺砂盖砖', '每增加一根', '铺砂盖保护板'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
030408006 | [['安装'], ['1kV以下户内干包式铝芯电力电缆头制作', '铝芯干包终端头', '铝芯干包中间头', '1kV以下户内干包式铜芯电力电缆头制作', '铜芯干包终端头', '铜芯干包中间头', '1kV以下户内浇注式铝芯电力电缆终端头制作', '铝芯终端头', '10kV以下户内浇注式铝芯电力电缆终端头制作', '1kV以下户内浇注式铜芯电力电缆终端头制作', '铜芯终端头', '10kV以下户内浇注式铜芯电力电缆终端头制作', '1kV以下户内热缩式铝芯电力电缆终端头制作', '10kV以下户内热缩式铝芯电力电缆终端头制作', '1kV以下户内热缩式铜芯电力电缆终端头制作', '10kV以下户内热缩式铜芯电力电缆终端头制作', '10kV以下户外铝芯电力电缆终端头制作', '铝芯热缩式', '铝芯浇注式', '10kV以下户外铜芯电力电缆终端头制作', '铜芯热缩式', '铜芯浇注式', '1kV以下浇注式铝芯电力电缆中间头制作', '铝芯浇注式中间头', '10kV以下浇注式铝芯电力电缆中间头制作', '1kV以下浇注式铜芯电力电缆中间头制作', '铜芯浇注式中间头', '10kV以下浇注式铜芯电力电缆中间头制作', '1kV以下热缩式铝芯电力电缆中间头制作', '铝芯热缩式中间头', '10kV以下热缩式铝芯电力电缆中间头制作', '1kV以下热缩式铜芯电力电缆中间头制作', '铜芯热缩式中间头', '10kV以下热缩式铜芯电力电缆中间头制作'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['10kV以下户内成套型电缆终端头安装', '成套型终端头', '10kV以下户外成套型电缆终端头安装', '10kV以下成套型电缆中间接头安装', '成套型电缆中间头', '矿物绝缘电缆终端头安装', '单芯', '多芯', '矿物绝缘电缆中间接头安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030408007 | [['控制电缆头制作', '安装'], ['终端头', '中间接头'], ['following words, in parentheses, at end of line']] | [[], ['矿物绝缘控制电缆终端头安装', '芯数', '矿物绝缘控制电缆中间接头安装', '电缆保护管有混凝土基础暗敷', '塑料管', '公称直径', '一根', '每增加一根'], ['with # in front, not in parentheses, at the end of line', 'mm', '公称直径#mm following 管']] | [[], [], []]
030408008 | [['电缆防火涂料', '堵洞', '防火堵洞'], ['防火门', '盘柜下', '电缆隧道', '保护管'], []]
030408009 | [['隔板安装', '防火隔板'], [], []]
030408010 | [['隔板安装', '防火涂料'], [], []]
030408011 | [['接线箱半周长'], ['接线箱明装', '接线箱暗装'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['基础槽钢', '角钢安装', '槽钢', '角钢', '一般铁构件', '制作'], []]
030409001 | [['接地极', '板', '制作', '安装'], ['钢管接地极', '普通土', '坚土', '角钢接地极', '圆钢接地极', '接地极板', '铜板', '钢板'], []] | [[], [], []]
030409002 | [['接地母线敷设'], ['户外接地母线敷设', '户外铜接地绞线敷设', '户内接地母线敷设'], []] | [[], [], []]
030409003 | [['避雷引下线敷设'], ['利用金属构件引下', '沿建筑', '构筑物引下'], []] | [[], ['断接卡子制作', '安装', '接线箱明装', '接线箱半周长', '接线箱暗装'], ['following words, in parentheses, at end of line', 'mm']] | [['避雷引下线敷设', '利用建筑物主筋引下'], [], []] | [[], [], []]
030409004 | [['避雷网安装', '均压环敷设', '利用梁内钢筋'], [], []] | [['钢铝窗接地'], ['圆钢', '导线'], []] | [[], [], []] | [[], [], []] | [[], [], []]
030409005 | [['避雷网安装'], ['沿混凝土块敷设', '沿折板支架敷设'], []] | [[], [], []] | [['避雷网安装', '混凝土块制作'], [], []] | [[], [], []]
030409006 | [[], ['钢管避雷针制作', '圆钢避雷针制作', '避雷针安装', '装在烟囱上', '装在平屋面上', '装在墙上', '装在金属容器顶上', '装在金属容器壁上', '装在构筑物上', '木杆上', '水泥杆上', '金属构架上', '拉线安装', '独立避雷针安装', '避雷小短针制作', '避雷小短针在避雷网上安装'], ['with # in front, not in parentheses, at the end of line', 'following words, in parentheses, at end of line']] | [[], [], []] | [[], [], []]
030409007 | [['半导体少长针消雷装置'], [], ['following words, in parentheses, at end of line']]
030409008 | [[], ['断接卡子制作', '安装', '接线箱明装', '接线箱半周长', '接线箱暗装'], ['following words, in parentheses, at end of line', 'mm']]
030409009 | [[], [], []] | [[], [], []]
030409010 | [[], ['控制开关安装', '自动空气开关', 'DZ装置式', 'DZ自动空气断路器安装', '额定电流'], ['following words, in parentheses, at end of line']] | [[], [], []] | [[], [], []]
030409011 | [['not', 'found'], [], []] | [['埋设降阻剂'], [], []] | [['not', 'found'], [], []] | [['not', 'found'], [], []]
粤030409012 | [['桩承台接地'], ['三连桩', '七连桩', '十连桩'], []] | [[], [], []]
030410001 | [['施工定位'], ['单杆', '双杆', '直线塔', '跨越', '耐张塔'], []] | [[], ['10kV以下架空配电线路杆塔组立单杆', '木杆', '混凝土杆', '10kV以下架空配电线路杆塔组立接腿杆', '单腿接杆', '双腿接杆', '混合接腿杆', '10kV以下架空配电线路杆塔组立撑杆及钢圈焊接', '木撑杆', '混凝土撑杆', '钢圈焊接'], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']] | [['not', 'found'], [], []] | [['10kV以下架空配电线路基础工程'], ['拉盘', '卡盘', '底盘'], []] | [['10kV以下架空配电线路基础工程', '木杆根部防腐'], [], []] | [[], ['普通拉线', '水平及弓形拉线'], ['following words, in parentheses, at end of line', 'mm']] | [['10kV以下架空配电线路基础工程'], ['干铺', '底坑面积', '浆铺', '钢管', '钢带', '一般钢筋', '钢筋笼', '现浇混凝土基础', '每基混凝土量', '机械钻孔', '砂土', '亚粘土', '孔深', '孔径', '粘土', '砂砾石', '灌注桩混凝土', '10kV以下架空配电线路基础工程基础保护帽浇制', '基础保护帽浇制', '10kV以下架空配电线路基础工程基础防腐', '金属基础', '混凝土基础'], ['following words, in parentheses, at end of line', 'm3', '孔深 not at end of line', 'not following anything, in parentheses, at end of line']] | [['10kV以下架空配电线路工地运输', '运输'], ['人力运输', '汽车运输', '装卸'], ['平均运距m']]
030410002 | [[], ['10kV以下横担安装', '铁', '木横担', '单根', '双根', '瓷横担', '直线杆', '承力杆', '1kV以下横担安装', '二线', '四线', '六线', '进户线横担安装', '一端埋设式', '两端埋设式'], []] | [[], [], []]
030410003 | [['导线架设'], ['钢芯铝绞线', '绝缘铝绞线', '绝缘钢芯铝绞线', '裸铝绞线'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['导线跨越', '电力', '公路', '通讯线', '高速公路', '铁路', '高架路', '河流', '进户线'], ['following words, in parentheses, at end of line', 'mm']] | [['10kV以下架空配电线路工地运输', '运输'], ['人力运输', '汽车运输', '装卸'], ['平均运距m']]
030410004 | [[], ['一般铁构件', '制作', '安装', '轻型铁构件'], []] | [['杆上变配电设备安装'], ['变压器容量', '跌落式熔断器', '避雷器', '故障指示器', '隔离开关', '油开关', '智能开关', '配电箱'], ['following words, in parentheses, at end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []]
粤030410005 | [['not', 'found'], [], []] | [['not', 'found'], [], []] | [['not', 'found'], [], []] | [['not', 'found'], [], []] | [['not', 'found'], [], []] | [['not', 'found'], [], []] | [['not', 'found'], [], []]
030411001 | [['金属软管敷设公称管径', '每根管长', '以下'], [], ['mm', '每根管长', '金属软管敷设公称管径']] | [['直径'], ['钢索架设', '圆钢', '钢丝绳', '钢索拉紧装置', '索具螺栓直径'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []]
030411002 | [[], ['金属线槽安装', '塑料线槽安装', '线槽断面周长'], ['following words, in parentheses, at end of line', 'mm', '宽\\+高']] | [[], [], []]
030411003 | [[], ['铝合金槽式桥架', '铝合金梯式桥架', '铝合金托盘式桥架', '组合式桥架', '桥架支撑架', '防火桥架', 'not', 'found', '钢制槽式桥架', '钢制梯式桥架', '钢制托盘式桥架', '玻璃钢槽式桥架', '玻璃钢梯式桥架', '玻璃钢托盘式桥架', '喷泉防水配件安装', '玻璃钢电缆槽'], ['following words, in parentheses, at end of line', 'mm', '宽\\+高']] | [[], [], []]
030411004 | [[], ['管内穿线', '照明线路', '铝芯', '导线截面', '铜芯', '动力线路', '镀锌电线管钢索配管', '公称直径', '镀锌钢管砖', '混凝土结构明配', '多芯软导线管内穿线', '芯以内', '二芯', '四芯', '八芯', '十六芯', '鼓形绝缘子配线', '木结构', '顶棚内', '砖', '混凝土结构', '沿钢支架', '沿钢索', '针式绝缘子配线', '沿屋架', '梁', '柱', '墙导线截面', '跨屋架', '柱导线截面', '蝶式绝缘子配线', '线槽配线', '塑料护套线沿木结构明敷设', '三芯', '塑料护套线沿砖', '混凝土结构明敷设', '塑料护套线沿钢索明敷设', '混凝土结构粘接明敷设', '绝缘导线线码敷设', '街码配线', '车间带形铝电线沿屋架', '墙安装', '铝母线截面', '钢母线截面', '车间带形铝电线跨屋架', '柱安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], ['钢索架设', '圆钢', '直径', '钢丝绳', '母线拉紧装置', '母线截面', '钢索拉紧装置', '索具螺栓直径'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030411005 | [['接线箱半周长'], ['接线箱明装', '接线箱暗装'], ['following words, in parentheses, at end of line', 'mm']]
030411006 | [['盒'], ['开关', '插座', '暗装', '接线盒', '普通接线盒', '明装', '防爆接线盒', '钢索上接线盒'], []]
030412001 | [[], ['其他普通灯具', '座灯头', '大马路弯灯', '臂长'], ['mm', '臂长#dmm not in parentheses']]
030412002 | [[], ['工厂灯及防水防尘灯安装', '工厂罩灯', '吸顶式', '弯杆式', '悬挂式', '吊管式', '吊链式', '防水防尘灯', '直杆式', '工厂其他灯具安装', '防潮灯', '腰形船顶灯', '碘钨灯', '管形氙气灯', '投光灯', '高压水银灯镇流器', '混光灯安装', '吊杆式', '嵌入式', '密闭灯具安装', '安全灯', '防爆灯', '高压水银防爆灯'], []]
030412003 | [['烟囱', '水塔', '独立式塔架标志灯安装', '安装高度'], [], ['following words, in parentheses, at end of line']]
030412004 | [[], ['吸顶式挂碗', '挂吊磉灯', '矩形', '灯体半周长', '/灯体垂吊长度', '示意图号', '挂吊碟灯', '吸顶式玻璃罩灯', '带装饰', '组合荧光灯光带', '吊杆式', '单管', '双管', '三管', '四管', '吸顶式', '嵌入式', '内藏组合式灯', '方形组合', '日形组合', '田字组合', '六边组合', '锥形组合', '双管组合', '圆管光带', '发光棚安装及其它', '发光棚灯', '立体广告灯箱', '荧光灯光沿', '几何形状组合艺术灯具', '单点固定灯具', '繁星六火', '几何形状组合艺术灯具安装', '繁星四十火', '四点固定灯具', '繁星十六火', '繁星一百火', '单点固定灯', '钻石星五火', '星形双火灯', '礼花灯', '玻璃罩钢架组合灯', '吊式蜡烛灯', '灯体直径', '凸片单火灯', '凸片四火灯', '以内', '凸片十八火灯', '凸片二十八火灯', '反射柱灯', '筒形钢架灯', 'Ｕ形组合灯', '弧形管组合灯', '标志', '诱导装饰灯具', '墙壁式', '水下艺术装饰灯具', '彩灯', '简易形', '密封形', '喷水池灯', '幻光型灯', '点光源艺术装饰灯具', '灯具直径', '射灯', '滑轨式', '滑轨', '草坪灯具', '立柱式', '歌舞厅灯具', '变色转盘灯', '雷达射灯', '十二头幻影转彩灯', '维纳斯旋转彩灯', '卫星旋转效果灯', '飞碟旋转效果灯', '八头转灯', '十八头转灯', '滚筒灯', '频闪灯', '太阳灯', '雨灯', '歌星灯', '边界灯', '泡泡发生灯', '迷你满天星彩灯', '迷你单立', '盘彩灯', '宇宙灯', '镜面球灯', '蛇光管', '满天星彩灯', '彩控器', '嵌入式地灯安装', '地板下', '地坪下', '密闭灯具安装', '应急灯', '喷泉水下彩色照明', '水下链灯管式', '水下链灯可塑', '水下灯柱穿管', '日光彩灯', '喷泉水上辅助照明', '聚光灯', '散光灯', '追光灯', '投影灯', '频闪器阵', '彩灯阵', '彩色日光灯阵', '彩色链灯阵', '雷达灯', '摇摆旋转式'], ['mm', '灯体垂吊长度', '灯体半周长', '灯体直径', '灯具直径', '宇宙灯', '直径']]
030412005 | [[], ['组装型荧光灯具安装', '吊链式', '单管', '双管', '三管', '荧光灯电容器安装', '吸顶式', '成套型荧光灯具安装', '吊管式', '嵌入式', '四管', '密闭灯具安装', '防爆荧光灯'], []]
030412006 | [['医院灯具安装'], ['病房指示灯', '病房暗脚灯', '紫外线杀菌灯', '无影灯'], ['following words, in parentheses, at end of line']]
030412007 | [['10kV以下架空配电线路基础工程'], ['干铺', '底坑面积', '浆铺', '钢管', '钢带', '一般钢筋', '钢筋笼', '现浇混凝土基础', '每基混凝土量', '机械钻孔', '砂土', '亚粘土', '孔深', '孔径', '粘土', '砂砾石', '灌注桩混凝土', '10kV以下架空配电线路基础工程基础保护帽浇制', '基础保护帽浇制', '10kV以下架空配电线路基础工程基础防腐', '金属基础', '混凝土基础'], ['following words, in parentheses, at end of line', 'm3', '孔深 not at end of line', 'not following anything, in parentheses, at end of line']] | [['路灯金属杆', '单杆式'], [], ['following words, in parentheses, at end of line']] | [[], ['成套型路灯杆座', '金属杆座', '玻璃钢杆座', '组装型路灯杆座', '混凝土制件'], []] | [[], ['抱箍式单臂挑灯架', '单抱箍', '以下', '双抱箍', '以上', '双拉梗', '双臂架', '顶套式单臂挑灯架', '成套型', '组装型', '成套型双臂悬挑灯架', '双称式', '非对称式', '组装型双臂悬挑灯架', '对称式', '庭院路灯', '柱灯', '三火以下', '七火以下', '路灯安装照明配件', '镇流器', '触发器', '电容器'], ['臂长#dmm in parentheses', 'following words, in parentheses, at end of line']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [['路灯设施编号'], ['开关箱号', '路灯杆号', '钉或粘路灯号牌'], []] | [[], [], []]
030412008 | [['10kV以下架空配电线路基础工程'], ['干铺', '底坑面积', '浆铺', '钢管', '钢带', '一般钢筋', '钢筋笼', '现浇混凝土基础', '每基混凝土量', '机械钻孔', '砂土', '亚粘土', '孔深', '孔径', '粘土', '砂砾石', '灌注桩混凝土', '10kV以下架空配电线路基础工程基础保护帽浇制', '基础保护帽浇制', '10kV以下架空配电线路基础工程基础防腐', '金属基础', '混凝土基础'], ['following words, in parentheses, at end of line', 'm3', '孔深 not at end of line', 'not following anything, in parentheses, at end of line']] | [['路灯金属杆', '单杆式'], [], ['following words, in parentheses, at end of line']] | [[], ['成套型路灯杆座', '金属杆座', '玻璃钢杆座', '组装型路灯杆座', '混凝土制件'], []] | [[], ['成套型高杆灯架', '灯火数', '组装型高杆灯架', '路灯安装照明配件', '镇流器', '触发器', '电容器'], ['following words, in parentheses, at end of line', '灯高#M']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [['安装'], ['一般铁构件', '轻型铁构件'], []] | [[], [], []] | [['路灯设施编号'], ['开关箱号', '路灯杆号', '钉或粘路灯号牌'], []] | [[], [], []]
030412009 | [['10kV以下架空配电线路基础工程'], ['干铺', '底坑面积', '浆铺', '钢管', '钢带', '一般钢筋', '钢筋笼', '现浇混凝土基础', '每基混凝土量', '机械钻孔', '砂土', '亚粘土', '孔深', '孔径', '粘土', '砂砾石', '灌注桩混凝土', '10kV以下架空配电线路基础工程基础保护帽浇制', '基础保护帽浇制', '10kV以下架空配电线路基础工程基础防腐', '金属基础', '混凝土基础'], ['following words, in parentheses, at end of line', 'm3', '孔深 not at end of line', 'not following anything, in parentheses, at end of line']] | [['路灯金属杆', '单杆式'], [], ['following words, in parentheses, at end of line']] | [[], ['成套型路灯杆座', '金属杆座', '玻璃钢杆座', '组装型路灯杆座', '混凝土制件'], []] | [[], ['成套型固定式灯盘', '灯火数', '成套型升降式灯盘', '组装型固定式灯盘', '组装型高杆灯架', '灯盘升降式', '路灯安装照明配件', '镇流器', '触发器', '电容器'], ['following words, in parentheses, at end of line', '灯高#M']] | [['导线截面'], ['焊铜接线端子', '压铜接线端子', '压铝接线端子'], ['following words, in parentheses, at end of line', 'mm']] | [['安装'], ['一般铁构件', '轻型铁构件'], []] | [[], [], []] | [['路灯设施编号'], ['开关箱号', '路灯杆号', '钉或粘路灯号牌'], []] | [[], [], []] | [[], [], []]
030412010 | [['桥栏杆灯'], ['成套型', '嵌入式', '明装式', '组装型'], []] | [[], [], []]
030412011 | [[], [], []]
030413001 | [['制作'], ['一般铁构件', '轻型铁构件'], []] | [['安装'], ['一般铁构件', '轻型铁构件'], []] | [[], [], []]
030413002 | [['凿槽', '刨沟'], ['砖结构', '混凝土结构'], ['not following anything, in parentheses, at end of line', 'mm']] | [['沟槽修补', '尺寸'], [], ['following words, in parentheses, at end of line', 'mm']]
030413003 | [['洞'], ['人工打孔', '砖结构', '人工凿孔', '钢筋混凝土结构', '机械钻孔', '混凝土', '砖墙'], ['following words, in parentheses, at end of line', 'mm']] | [['堵洞眼', '每个洞口填堵体积'], ['以内', '以上'], ['m3', '每个洞口填堵体积']]
030413004 | [[], [], []]
030413005 | [[], [], []]
030413006 | [[], [], []]
030414001 | [['电力变压器系统调试', '10kV以下变压器'], [], ['following words, in parentheses, at end of line', 'with # in front, not in parentheses, at the end of line']]
030414002 | [['送配电装置系统调试'], ['1kV以下交流供电', '10kV以下交流供电', '负荷隔离开关', '断路器', '带电抗路', '直流供电'], ['not following anything, in parentheses, at end of line', 'following words, in parentheses, at end of line']]
030414003 | [['特殊保护装置调试'], ['距离保护', '高频保护', '失灵保护', '电机失磁保护', '变流器断线保护', '小电流接地保护', '电机转子接地', '保护检查及打印机'], []]
030414004 | [['自动投入装置调试', '自动'], ['备用电源自投装置', '备用电机自投装置', '线路自动重合闸', '单侧电源', '双侧电源', '综合重合闸', '自动调频', '同期装置', '手动'], []]
030414005 | [['中央信号装置', '事故照明切换装置', '不间断电源调试'], ['变电所', '配电室', '直流盘监视系统', '变送器屏'], []]
030414006 | [['中央信号装置', '事故照明切换装置', '不间断电源调试', '事故照明切换'], [], []]
030414007 | [['中央信号装置', '事故照明切换装置', '不间断电源调试', '不间断电源'], [], ['following words, in parentheses, at end of line']]
030414008 | [['母线', '避雷器', '电容器', '接地装置调试', '母线系统'], [], ['following words, in parentheses, at end of line']]
030414009 | [['母线', '避雷器', '电容器', '接地装置调试'], [], ['following words, in parentheses, at end of line']]
030414010 | [['母线', '避雷器', '电容器', '接地装置调试'], [], ['following words, in parentheses, at end of line']]
030414011 | [['母线', '避雷器', '电容器', '接地装置调试'], ['独立接地装置', '接地网'], ['with # in front, not in parentheses, at the end of line']]
030414012 | [['电抗器', '消弧线圈', '电除尘器调试'], ['干式', '油浸式'], []]
030414013 | [['电抗器', '消弧线圈', '电除尘器调试', '电除尘器'], [], ['following words, in parentheses, at end of line']]
030414014 | [['可控硅整流装置调试', '可控硅整流装置'], ['硅整流设备', '一般硅整流', '电解硅整流', '砖慧流设备', '可粹硅整流装置'], ['following words, in parentheses, at end of line']]
030414015 | [['绝缘子', '套管', '绝缘油', '电缆试验'], ['电缆故障点测试', '电缆泄漏试验'], []]