## sheet1
itemcode | 1 | 2 | 3 | 4 | 5
030901001 | [['公称直径'], ['镀锌钢管', '螺纹连接', '法兰连接', '钢管', '沟槽式卡箍连接', '管道安装', '卡箍安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [['自动喷水灭火系统管网水冲洗', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030901002 | [['公称直径'], ['室内镀锌钢管', '螺纹连接', '室外焊接钢管', '钢管', '沟槽式卡箍连接', '管道安装', '卡箍安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [['管道消毒', '冲洗', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030901003 | [[], ['喷头安装', '无吊顶', '公称直径', '有吊顶', '智能一体化装置安装', '智能水炮灭火控制器安装', '大流量喷头安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []]
030901004 | [['湿式报警装置安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['流水开关接线'], [], []] | [[], [], []]
030901005 | [['温感式水幕装置安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['流水开关接线'], [], []] | [[], [], []]
030901006 | [['水流指示器安装', '公称直径'], ['螺纹连接', '法兰连接'], ['following words, in parentheses, at end of line', 'mm']] | [['流水开关接线'], [], []] | [[], [], []]
030901007 | [['减压孔板安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030901008 | [['末端试水装置安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030901009 | [['集热板制作', '安装'], [], []] | [[], [], []]
030901010 | [['室内消火栓安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030901011 | [[], ['室外地下式消火栓安装', '室外地上式消火栓安装'], ['MPa', '浅深x型']] | [[], [], []]
030901012 | [['消防水泵接合器安装'], ['地下式', '地上式', '墙壁式'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
030901013 | [['灭火器具安装'], ['放置式灭火器放置箱', '箱半周长', '灭火器安装', '挂墙式', '放置式', '悬挂式', '防毒面具安装', '挂墙式灭火器放置箱'], ['箱半周长']]
030901014 | [[], ['智能一体化装置安装', '智能水炮灭火控制器安装', '大流量喷头安装'], []] | [[], [], []]
030902001 | [['气体灭火系统安装', '无缝钢管', '法兰连接', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['气体灭火系统安装', '钢制管件', '螺纹连接', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['低中压管道液压试验', '高压管道液压试验', '低中压管道气压试验'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['水冲洗', '空气吹扫'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030902002 | [['公称直径'], ['气体灭火系统安装', '无缝钢管', '法兰连接', '不锈钢管', '电弧焊', '氩弧焊', '氩电联焊'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['管外充氩保护', '管内局部充氩保护'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['低中压管道液压试验', '高压管道液压试验', '低中压管道气压试验'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['水冲洗', '空气吹扫'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030902003 | [['公称直径'], ['气体灭火系统安装', '钢制管件', '螺纹连接', '不锈钢管件', '电弧焊', '氩弧焊', '碳钢管件', '氧乙炔焊', '氩电联焊'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['管外充氩保护', '管内局部充氩保护'], ['following words, in parentheses, at end of line', 'mm']]
030902004 | [['气体灭火系统安装', '气体驱动装置管道安装', '管外径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['低中压管道液压试验', '高压管道液压试验', '低中压管道气压试验'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['水冲洗', '空气吹扫'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030902005 | [['选择阀安装', '公称直径'], ['螺纹连接', '法兰连接'], ['following words, in parentheses, at end of line', 'mm']] | [['系统组件'], ['水压强度试验', '气压严密性试验'], []]
030902006 | [['气体灭火系统安装', '喷头安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
030902007 | [['贮存装置安装', '贮存容器规格'], [], ['following words, in parentheses, at end of line', 'L']] | [[], [], []] | [[], [], []]
030902008 | [['二氧化碳称重检漏装置安装'], [], []] | [[], [], []]
030902009 | [['无管网型灭火装置安装'], ['单瓶', '双瓶'], []]
030903001 | [['碳钢管', '公称直径'], ['电弧焊', '氩电联焊'], ['following words, in parentheses, at end of line', 'mm']] | [['碳钢管件', '公称直径'], ['电弧焊', '氩电联焊', '高压管件'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['低中压管道液压试验', '高压管道液压试验', '低中压管道气压试验'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['水冲洗', '空气吹扫'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030903002 | [['公称直径'], ['气体灭火系统安装', '无缝钢管', '法兰连接', '不锈钢管', '电弧焊', '氩弧焊', '氩电联焊'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['管外充氩保护', '管内局部充氩保护'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['低中压管道液压试验', '高压管道液压试验', '低中压管道气压试验'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['水冲洗', '空气吹扫'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030903003 | [[], ['气体灭火系统安装', '无缝钢管', '法兰连接', '公称直径', '铜管', '氧乙炔焊', '管外径'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['低中压管道液压试验', '高压管道液压试验', '低中压管道气压试验'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['水冲洗', '空气吹扫'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
030903004 | [['公称直径'], ['不锈钢管件', '电弧焊', '氩弧焊', '碳钢管件', '氧乙炔焊', '氩电联焊', '气体灭火系统安装', '钢制管件', '螺纹连接'], ['following words, in parentheses, at end of line', 'mm']] | [['公称直径'], ['管外充氩保护', '管内局部充氩保护'], ['following words, in parentheses, at end of line', 'mm']]
030903005 | [[], ['铜管件', '氧乙炔焊', '管外径', '铜板卷管件', '公称直径', '碳钢板卷管件', '电弧焊', '气体灭火系统安装', '钢制管件', '螺纹连接'], ['following words, in parentheses, at end of line', 'mm']]
030903006 | [['泡沫发生器安装'], ['水轮机式', '电动机式'], ['#+letters following 机式']] | [[], [], []] | [['一台设备的灌浆体积'], ['地脚螺栓孔灌浆', '设备底座与基础间灌浆'], ['following words, in parentheses, at end of line', 'm3', '一台设备的灌浆体积']]
030903007 | [['型号'], ['平衡压力式比例混合器安装', '环泵式负压比例混合器安装', '管线式负压比例混合器安装', '压力储罐式泡沫比例混合器安装'], ['PH following 型号']] | [[], [], []] | [['一台设备的灌浆体积'], ['地脚螺栓孔灌浆', '设备底座与基础间灌浆'], ['following words, in parentheses, at end of line', 'm3', '一台设备的灌浆体积']]
030903008 | [[], [], []]
030904001 | [['点型探测器安装', '总线制', '可燃气体'], [], []] | [[], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904002 | [['线型探测器安装'], [], []] | [['报警接口安装'], [], []] | [[], [], []]
030904003 | [['按钮安装'], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904004 | [['报警装置安装', '警铃安装'], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904005 | [['报警装置安装', '声光报警安装'], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904006 | [[], ['通讯分机安装', '通讯插孔安装'], []] | [[], [], []] | [[], [], []] | [['广播喇叭', '音箱', '通讯分机及插孔'], [], []]
030904007 | [['火灾事故广播安装'], ['吸顶式扬声器', '壁挂式音箱'], []] | [[], [], []] | [[], [], []] | [['广播喇叭', '音箱', '通讯分机及插孔'], [], []]
030904008 | [['控制模块', '接口', '安装'], ['单输出', '多输出'], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904009 | [['报警控制器安装'], ['多线制', '壁挂式', '落地式', '总线制'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904010 | [['联动控制器安装'], ['多线制', '壁挂式', '落地式', '总线制'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904011 | [['远程控制器安装'], [], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []] | [[], [], []] | [[], [], []]
030904012 | [['报警控制器安装'], ['多线制', '壁挂式', '落地式', '总线制'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []]
030904013 | [['联动控制器安装'], ['多线制', '壁挂式', '落地式', '总线制'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []]
030904014 | [[], ['火灾事故广播安装', '录音机', '广播分配器', '消防广播控制柜', '电话交换机安装'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []]
030904015 | [[], [], []]
030904016 | [['消防报警备用电源安装'], [], []] | [[], [], []]
030904017 | [['报警联动一体机安装'], ['壁挂式', '落地式'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []] | [[], [], []]
030905001 | [['自动报警系统装置调试'], [], ['with # in front, not in parentheses, at the end of line']]
030905002 | [['水灭火系统控制装置调试'], [], ['with # in front, not in parentheses, at the end of line']]
030905003 | [[], ['电动防火门', '防火卷帘门', '正压送风阀', '排烟阀', '防火阀'], []]
030905004 | [['气体灭火系统装置调试', '试验容器规格'], [], ['following words, in parentheses, at end of line', 'L']] | [[], [], []] | [[], [], []]