## sheet1
itemcode | 1 | 2 | 3 | 4 | 5 | 6
031001001 | [['公称直径'], ['室外镀锌钢管', '螺纹连接', '室内镀锌钢管', '室外焊接钢管', '钢管', '沟槽式卡箍连接', '管道安装', '卡箍安装', '室内镀锌钢管安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []] | [['公称直径'], ['管道消毒', '冲洗', '管道吹扫'], ['following words, in parentheses, at end of line', 'mm']]
031001002 | [['公称直径'], ['室外焊接钢管', '螺纹连接', '室外钢管', '焊接', '室内焊接钢管', '室内钢管', '钢管', '沟槽式卡箍连接', '管道安装', '卡箍安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []] | [['公称直径'], ['管道消毒', '冲洗', '管道吹扫'], ['following words, in parentheses, at end of line', 'mm']]
031001003 | [['室内不锈钢管', '公称直径'], ['卡接', '螺纹连接'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []] | [['管道消毒', '冲洗', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031001004 | [['公称直径'], ['室内铜管', '螺纹式', '焊接式', '胀口焊接', '室内铜管胀口焊接', '室外钢管', '焊接', '无缝黄铜', '紫铜榄型垫圈', '抓榄', '管道安装', '紫铜管热煨弯头'], ['following words, in parentheses, at end of line', 'mm', '#~ following 无缝黄铜、紫铜管热煨弯头']] | [[], [], []] | [[], [], []] | [['管道消毒', '冲洗', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031001005 | [['公称直径'], ['室外承插铸铁给水管', '膨胀水泥接口', '胶圈接口', '室外承插铸铁排水管', '水泥接口', '室内承插铸铁给水管', '室内给水韧性铸铁管', '室内承插铸铁排水管', '承插铸铁排水管', '室内柔性抗震铸铁排水管', '柔性接口', '室内铸铁排水管', '卡箍连接', '室内承插铸铁雨水管', '室外承插煤气铸铁管', '柔性机械接口'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []] | [['公称直径'], ['管道消毒', '冲洗', '管道吹扫'], ['following words, in parentheses, at end of line', 'mm']]
031001006 | [['公称直径'], ['室外塑料给水管', '粘接', '热熔接', '室外塑料排水管', '室内塑料给水管', '室内塑料排水管', '室内塑料雨水管'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []] | [[], ['阻火圈安装', '管外径', '室外承插铸铁给水管', '胶圈接口', '公称直径'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [['管道消毒', '冲洗', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031001007 | [['公称直径'], ['室外钢塑给水管', '室内铝塑复合给水管', '室内钢塑给水管'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []] | [[], [], []] | [[], [], []] | [['管道消毒', '冲洗', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031001008 | [[], [], []]
031001009 | [[], [], []]
031001010 | [[], [], []]
031001011 | [[], [], []]
粤031001012 | [['管道气压总体试验', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031002001 | [['管道支架制作', '一般管架'], [], []] | [['管道支架安装', '一般管架'], [], []]
031002002 | [['设备支架制作安装', '每组重量'], ['以上'], ['following words, in parentheses, at end of line', '每组重量']] | [['not', 'found'], [], []]
031002003 | [[], ['柔性防水套管安装', '公称直径', '刚性防水套管制作', '刚性防水套管安装', 'not', 'found', '柔性防水套管制作', '穿楼板塑料套管制作安装', '穿楼板翼环钢套管制作安装', '穿梁塑料套管制作安装', '穿梁钢套管制作安装', '穿墙钢套管制作安装'], ['following words, in parentheses, at end of line', 'mm']] | [['not', 'found'], [], []] | [['not', 'found'], [], []]
031003001 | [['自动排气阀安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['螺纹浮球阀安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
031003002 | [['螺纹法兰阀安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
031003003 | [['公称直径'], ['焊接法兰阀安装', '手动放风阀安装', '法兰浮球阀安装', '法兰液压式水位控制阀安装', '水锤消除器安装'], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
031003004 | [['法兰阀安装', '带短管甲乙', '膨胀水泥接口', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
031003005 | [['塑料阀门安装', '粘接', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
031003006 | [['减压器', '焊接', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031003007 | [['疏水器', '公称直径'], ['螺纹连接', '焊接'], ['following words, in parentheses, at end of line', 'mm']]
031003008 | [[], ['Y型过滤器安装', '法兰连接', '公称直径', '螺纹连接', '过滤网安装', '过滤箱安装', '过滤器安装', '过滤池安装'], ['following words, in parentheses, at end of line', 'mm']]
031003009 | [['公称直径'], ['金属波纹管安装', '螺纹连接法兰式套筒伸缩器安装', '焊接法兰式套筒伸缩器安装', '方形伸缩器制作安装', '燃气波形补偿器安装'], ['following words, in parentheses, at end of line', 'mm']]
031003010 | [['可曲挠橡胶接头安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']]
031003011 | [['公称直径'], ['铸铁法兰安装', '螺纹连接', '碳钢法兰安装', '焊接'], ['following words, in parentheses, at end of line', 'mm']]
031003012 | [[], [], []]
031003013 | [['公称直径'], ['螺纹水表', '焊接法兰水表', '带旁通管及止回阀', 'IC卡水表螺纹连接', '螺纹水表配驳喉组合安装', '焊接法兰水表配承插盘短管安装'], ['following words, in parentheses, at end of line', 'mm']]
031003014 | [[], [], []]
031003015 | [['not', 'found'], [], []]
031003016 | [['浮标液面计制作安装', 'FQ-Ⅱ型'], [], []]
031003017 | [[], ['水塔浮漂水位标尺制作安装', '一', '二', '水池浮漂水位标尺制作安装', '三'], []]
031004001 | [[], ['搪瓷浴盆安装', '冷水', '冷热水', '冷热水带喷头', '玻璃钢浴盆安装', '塑料浴盆安装', '按摩浴缸安装'], []] | [[], [], []]
031004002 | [['净身盆安装', '冷热水'], [], []] | [[], [], []]
031004003 | [[], ['洗脸盆安装', '钢管组成', '冷水', '冷热水', '铜管', '立式冷热水', '理发用冷热水', '肘式开关', '脚踏开关', '洗手盆安装', '普通冷水嘴'], []] | [[], [], []]
031004004 | [['洗涤盆安装'], ['单嘴', '双嘴', '回转龙头', '回转混合龙头', '肘式开关', '单把', '双把', '脚踏开关'], []] | [[], [], []]
031004005 | [['化验盆安装'], ['单联', '双联', '三联', '脚踏开关', '鹅颈水嘴'], []] | [[], [], []]
031004006 | [[], ['蹲式大便器安装', '瓷高水箱', '瓷低水箱', '普通阀冲洗', '不带水箱', '脚踏阀冲洗', '手押阀冲洗', '自闭式冲洗', '坐式大便器安装', '带水箱坐便', '低水箱坐便', '自闭冲洗阀坐便', '连体水箱坐便'], ['#+letters following 自闭式冲洗']] | [[], [], []]
031004007 | [[], ['挂斗式小便器安装', '挂斗式', '自动冲洗', '一联', '二联', '三联', '普通式', '立式小便器安装', '立式'], []] | [[], [], []]
031004008 | [[], [], []]
031004009 | [[], [], []]
031004010 | [['淋浴器组成', '安装'], ['钢管组成', '冷水', '冷热水', '成品淋浴器'], []] | [[], [], []]
031004011 | [['整体淋浴室安装'], [], []] | [[], [], []]
031004012 | [[], [], []]
031004013 | [['大', '小便槽冲洗水箱制作', '小便槽'], ['大便槽'], ['with # in front, not in parentheses, at the end of line']] | [['容量'], ['大便槽自动冲洗水箱安装', '小便槽自动冲洗水箱安装'], ['following words, in parentheses, at end of line', 'L']]
031004014 | [[], ['单冷水龙头安装', '公称直径', '混合冷热龙头安装', '排水栓安装', '带存水弯', '不带存水弯', '金属地漏安装', '塑料地漏安装', '地面扫除口安装', '透气帽制作安装', '洗涤盆安装', '双嘴', '感应式冲水器安装', '明装', '暗装', '喷泉喷头安装'], ['following words, in parentheses, at end of line', 'mm']]
031004015 | [['小便槽冲洗管制作', '安装', '公称直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [['not', 'found'], [], []]
031004016 | [['蒸汽—水加热器安装', '小型单管式'], [], []]
031004017 | [['冷热水混合器安装'], ['小型', '大型'], []]
031004018 | [['饮水器安装'], [], []]
031004019 | [[], [], []]
031005001 | [['铸铁散热器组成安装', '型号'], [], ['PH following 型号']] | [[], [], []]
031005002 | [[], ['钢制闭式散热器安装', '型号', '钢制板式散热器安装', '钢制壁式散热器安装', '设备重量', '以内', '以上', '钢制柱式散热器安装', '片数'], ['PH following 型号', 'H#×/', '设备重量', 'with # in front, not in parentheses, at the end of line']]
031005003 | [[], [], []]
031005004 | [['光排管散热器制作安装', '公称直径'], ['A型', 'B型'], ['following words, in parentheses, at end of line', 'mm', '#~ following 型']] | [[], [], []]
031005005 | [['暖风机安装', '设备重量'], [], ['following words, in parentheses, at end of line', '设备重量']]
031005006 | [[], [], []]
031005007 | [[], [], []]
031005008 | [[], [], []]
031006001 | [['自动加压供水设备安装', '设备容量'], [], ['following words, in parentheses, at end of line', 'm3']] | [[], [], []] | [[], [], []] | [['设备减振台座安装', '台座重量'], [], ['following words, in parentheses, at end of line']]
031006002 | [['自动加压供水设备安装', '设备容量'], [], ['following words, in parentheses, at end of line', 'm3']] | [[], [], []] | [[], [], []] | [['设备减振台座安装', '台座重量'], [], ['following words, in parentheses, at end of line']]
031006003 | [['自动加压供水设备安装', '设备容量'], [], ['following words, in parentheses, at end of line', 'm3']] | [[], [], []] | [[], [], []] | [['设备减振台座安装', '台座重量'], [], ['following words, in parentheses, at end of line']]
031006004 | [['隔膜式气压水罐安装', '气压罐', '罐体直径'], [], ['following words, in parentheses, at end of line', 'mm']] | [[], [], []]
031006005 | [[], ['平板式户用型太阳能集热器安装', '规格', '全玻璃真空管式户用型太阳能集热器安装', '集体型太阳能集热器安装', '平板式', '全玻璃真空管式'], ['with # in front, not in parentheses, at the end of line']] | [[], [], []]
031006006 | [[], [], []]
031006007 | [[], [], []]
031006008 | [[], ['电子水处理器安装', '公称直径', '全程水处理器安装', '设备处理水量'], ['following words, in parentheses, at end of line', 'mm', 'm3']]
031006009 | [[], [], []]
031006010 | [[], [], []]
031006011 | [[], [], []]
031006012 | [[], ['容积式热交换器安装', '开水炉安装', '蒸汽间段式', '电热水器安装', '电开水炉安装', '立式', 'KSA型', 'KSC型'], ['with # in front, not in parentheses, at the end of line', 'not following anything, in parentheses, at end of line']] | [[], [], []]
031006013 | [[], ['消毒器安装', '干式', '湿式', '消毒锅安装'], []]
031006014 | [['公共直接饮用水设备安装', '设备供水量'], [], ['following words, in parentheses, at end of line']]
031006015 | [['圆形钢板水箱制作', '每个箱重'], [], ['following words, in parentheses, at end of line']] | [['水箱'], ['矩形钢板水箱安装', '总容量', '圆形钢板水箱安装', '水池消毒', '冲洗', '水箱或水池容量'], ['following words, in parentheses, at end of line', 'm3']]
031007001 | [['开水炉安装', '型号'], [], ['PH following 型号']]
031007002 | [['采暖炉安装'], ['箱式', 'YHRQ型红外线', '辐射采暖炉'], []]
031007003 | [[], ['沸水器安装', '容积式沸水器', '自动沸水器', '清毒器安装'], []]
031007004 | [['快速热水器安装'], ['直排式', '平衡式', '烟道式'], []]
031007005 | [['规格'], ['民用燃气表安装', '公商用燃气表安装', '工业用罗茨表安装'], ['with # in front, not in parentheses, at the end of line', 'm3']]
031007006 | [[], ['民用燃气灶具安装', '人工煤气灶具安装', '型号', '液化石油气灶具安装', '天然气灶具安装'], ['PH following 型号']]
031007007 | [['单双气嘴安装', '型号'], ['单嘴外螺纹', '双嘴外螺纹', '单嘴内螺纹', '双嘴内螺纹'], ['PH following 型号']]
031007008 | [[], ['调压器安装', '规格', '室外钢管', '焊接', '公称直径'], ['following words, in parentheses, at end of line', 'mm']]
031007009 | [['安装'], ['铸铁抽水缸', '机械接口', '公称直径', '碳钢抽水缸', '管外径'], ['following words, in parentheses, at end of line', 'mm', 'MPa']]
031007010 | [['公称直径'], ['调长器安装', '调长器与阀门联装'], ['following words, in parentheses, at end of line', 'mm']]
031007011 | [[], ['箱式调压器安装', '公称直径', '调压柜安装'], ['following words, in parentheses, at end of line', 'mm']]
031007012 | [[], [], []]
031008001 | [[], [], []]
031008002 | [[], [], []]
031008003 | [[], [], []]
031008004 | [[], [], []]
031008005 | [[], [], []]
031008006 | [[], [], []] | [[], [], []]
031008007 | [[], [], []]
031008008 | [[], [], []]
031008009 | [[], [], []]
031008010 | [[], [], []]
031008011 | [[], [], []]
031008012 | [[], [], []]
031008013 | [[], [], []]
031008014 | [[], [], []]
031009001 | [['not', 'found'], [], []]
031009002 | [['not', 'found'], [], []]